## Slide 1: Bubble-assisted Liquid Hole Multipliers in LXe and LAr: towards “local dual-phase TPCs”
LIDINE 2019
Manchester, August 2019
E. Erdal(1), L. Arazi(2), A. Breskin(1), S. Shchemelinin(1), A. Roy(2), A. Tesi(1), D. Vartsky(1), and S. Bressler(1)
(1) Dept. of Astrophysics & Particle Physics, Weizmann Institute of Science, Israel
(2) Unit of Nuclear Engineering, Faculty of Engineering Sciences, Ben-Gurion University of the Negev, Israel

## Slide 2: Hole-electrodes
Gas Electron Multiplier GEM
Thick Gas Electron Multiplier - THGEM (a.k.a. LEM)

## Slide 3: New concept: generating electroluminescence in a bubble
Cs I
VUV photon
Light readout (e.g. PMT , SiPM)
Noble liquid (LXe / LAr)
“hole-electrode”
L. Arazi et al. 2015 JINST 10 P08015 [arXiv:1505.02316] & E. Erdal et al. 2015 JINST 10 P11002 [arXiv:1509.02354]
Resistive wires

## Slide 4: Small Liquid Xenon Cryostat
E. Erdal et al. 2015 JINST 10 P11002 [arXiv:1509.02354]
CAMERA

## Slide 5
THGEM
Process of bubble
generation
E. Erdal et al. 2015 JINST 10 P11002 [arXiv:1509.02354]

## Slide 6: Bubble Inflation
E. Erdal et al. 2015 JINST 10 P11002 [arXiv:1509.02354]

## Slide 7: Combined light and charge readout
E. Erdal et al. 2018 JINST 13 P12008 [arXiv:1708.06645]
 flash of ~400 VUV photons

## Slide 8: Response of different electrodes
E. Erdal et al. 2018 JINST 13 P12008 [arXiv:1708.06645]

## Slide 9: Charge multiplication in the bubble
Apply strong electric field between bottom of electrode and wires
E. Erdal et al. 2018 JINST 13 P12008 [arXiv:1708.06645]

## Slide 10: Image of 241Am source with pixelated readout
LHM reconstruction
E. Erdal et al. 2019 JINST 14 P01028 [arXiv:1812.00780]
Resolution:
3.9mm dia.

## Slide 11: NEW: It works also in Liquid Argon!
arXiv:1908.04974 (to be submitted to JINST)
Same setup,
No CsI on top of the THGEM: S2 only

## Slide 12: Towards single photon sensing: Effective CsI Quantum Efficiency in LXe
– energy of alpha particle
– mean energy per photon
– rate of alpha emission into LXe
– solid angle towards photocathode
– Mesh transmission
Similar values measured also by: E. Aprile et al., NIM A 338 (1994) 328-335

## Slide 13: Towards single photon sensing: Effective CsI Quantum Efficiency in LXe
Expected PDE (GEM , SC-GEM): 22%
Measured PDE: ~4%
Expected PDE (THGEM): 15%
Measured PDE: ~2%
Expected PDE:

## Slide 14: Where are electrons lost?
1
2
From liquid to gas: 0.69 eV potential barrier
E. Erdal et al. 2018 JINST 13 P12008 [arXiv:1708.06645]

## Slide 15: What is the shape of the bubble? How does it affect the EL signal?
Light readout
Noble liquid (LXe / LAr)
Resistive wires

## Slide 16: We have a dream… for large-volume dark-matter detectors
Part of the DARWIN generic R&D program:
Aalbers, J., et al., Journal of Cosmology and Astroparticle Physics, 2016. 2016(11): p. 017

## Slide 17: To conclude
Stable bubble
Imaging
Different geometries
Light and charge detection
Charge gain
Gliding electrons?
Shape of the bubble?
Deeper?

## Slide 19: Backup slides

## Slide 20: Boiling on the tip of a wire
E. Erdal et al. 2015 JINST 10 P11002 [arXiv:1509.02354]

## Slide 21: Bubble breathing
E. Erdal et al. 2015 JINST 10 P11002 [arXiv:1509.02354]

## Slide 22: Vertical bubbles
241Am
α
e
S2
S1
Bubble
Fine mesh
112 µm opening
Et
Ed
THGEM
Heating wire
To PMT
LXe
4 mm
S1
S2

## Slide 23: S1 dependence on THGEM voltage
L. Arazi et al. 2015 JINST 10 P08015 [arXiv:1505.02316]

## Slide 24: Electroluminescence “in THGEM holes”
† L. Arazi et al. 2013 JINST 8 C12004 [arXiv:1310.4074]
††C.M.B. Monteiro et al. 2007 JINST 2 P05001.
††† T. Doke, Nucl. Intrum. Meth. 196 (1982).
†††† L. Arazi et al. 2015 JINST 10 P08015 [arXiv:1505.02316].
Light gain @ 2kV
~ 600 UV photons / electron
†
Threshold for electroluminescence:
Vapor (@ 170K): ~ 2-3 kV/cm ††
Liquid: 400 - 700 kV/cm †††
Indirect proof of bubble-assisted electroluminescence: killing light by abrupt pressure change. Interpretation: bubbles collapse! ††††

## Slide 25
~1 kV/cm
~10 kV/cm
LXe
GXe
Bottom PMTs
Top PMTs
cathode
anode
gate
‘Classical’ dual-phase Time Projection Chamber
Signal
Background
<
Hit pattern on top PMT array  x,y
Time difference  z
S2/S1  background discrimination
Dark matter particle
Aalbers, J. et al., Journal of Cosmology and Astroparticle Physics, 2016. 2016(11): p. 017

## Slide 26
1 kV/cm
10 kV/cm
LXe
GXe
Bottom PMTs
Top PMTs
cathode
anode
gate
Scaling up of ‘traditional’ dual-phase TPC
S2
S2
S2 S2
Aalbers, J. et al., Journal of Cosmology and Astroparticle Physics, 2016. 2016(11): p. 017
Degradation of signal / noise ratio